## Sheet
#EXPORTTYPE: | DATA ALL
#FILE: | BRF500.ngb-ds1
#FORMAT: | NETZSCH5
#FTYPE: | UNICODE
#IDENTITY: | BRF500
#MTYPE: | DSC
#INSTRUMENT: | NETZSCH STA 449F1
#PROJECT: | 113397
#DATE/TIME: | 12-11-2025 20:15:35 (UTC+1)
#CORR. FILE: | Correction for method 225C 20% O2, ISOTHERMAL 4H
#TEMPCAL: | TCALZERO.TCX
#SENSITIVITY: | SENSZERO.EXX
#LABORATORY: | CHEC-053
#OPERATOR: | AHUGO, CORNELIUS
#REMARK:
#SAMPLE: | BRF500
#SAMPLE MASS /mg: | 4.2091
#MATERIAL: | biochar
#REFERENCE: | ahugo
#REFERENCE MASS /mg: | 0
#TYPE OF CRUCIBLE: | Al2O3 85 µl, open
#SAMPLE CRUCIBLE MASS /mg: | 138.1637
#REFERENCE CRUCIBLE MASS /mg: | 143.75
#PURGE 1 MFC: | OXYGEN,252,5 ml/min
#PURGE 2 MFC: | NITROGEN,250,0 ml/min
#PROTECTIVE MFC: | NITROGEN,250,0 ml/min
#DSC RANGE /µV: | 5000
#TG RANGE /mg: | 5000
#TAU-R: | ---
#CORR. CODE: | 20
#EXO: | 1
#RANGE: | 50°C....225°C/0.0....40.0K/min
#SEGMENT: | S1-4/4
#SEG. 1: | 50°C/40.0(K/min)/105°C
#SEG. 2: | 105°C/00:30/105°C
#SEG. 3: | 105°C/5.0(K/min)/225°C
#SEG. 4: | 225°C/04:00/225°C
##Temp./°C | Time/min | DSC/(uV/mg) | Mass/% | Gas Flow(purge1)/(ml/min) | Gas Flow(protective)/(ml/min) | Sensit./(uV/mW) | Segment
50.84 | 0 | -0.013595 | 100 | 0 | 100 | 1 | 1
51.0596 | 0.5 | 0.077943 | 100.1521 | 0 | 100 | 1 | 1
53.1133 | 1 | 0.65707 | 100.5268 | 0 | 100 | 1 | 1
59.6629 | 1.5 | 2.3491 | 100.8466 | 0 | 100 | 1 | 2
69.8623 | 2 | 2.9447 | 100.9427 | 0 | 100 | 1 | 2
79.8186 | 2.5 | 2.2676 | 101.3259 | 0 | 100 | 1 | 2
88.5079 | 3 | 1.6003 | 101.3291 | 0 | 100 | 1 | 2
95.6038 | 3.5 | 1.1234 | 101.2799 | 0 | 100 | 1 | 2
101.1285 | 4 | 0.79176 | 101.0971 | 0 | 100 | 1 | 2
105.2283 | 4.5 | 0.55088 | 101.0146 | 0 | 100 | 1 | 2
108.1142 | 5 | 0.37081 | 101.1707 | 0 | 100 | 1 | 2
110.0656 | 5.5 | 0.26092 | 101.0487 | 0 | 100 | 1 | 2
111.3953 | 6 | 0.20719 | 101.1103 | 0 | 100 | 1 | 2
112.358 | 6.5 | 0.18751 | 101.2454 | 0 | 100 | 1 | 2
113.112 | 7 | 0.18091 | 101.2105 | 0 | 100 | 1 | 2
113.7327 | 7.5 | 0.17043 | 101.2553 | 0 | 100 | 1 | 2
114.2302 | 8 | 0.14897 | 101.2161 | 0 | 100 | 1 | 2
114.567 | 8.5 | 0.11931 | 101.1182 | 0 | 100 | 1 | 2
114.7219 | 9 | 0.083319 | 101.1699 | 0 | 100 | 1 | 2
114.6927 | 9.5 | 0.049509 | 101.2326 | 0 | 100 | 1 | 2
114.4785 | 10 | 0.021508 | 101.0649 | 0 | 100 | 1 | 2
114.1194 | 10.5 | -0.00093251 | 101.1174 | 0 | 100 | 1 | 2
113.6459 | 11 | -0.017513 | 101.0713 | 0 | 100 | 1 | 2
113.09 | 11.5 | -0.025812 | 101.0333 | 0 | 100 | 1 | 2
112.4894 | 12 | -0.029984 | 101.1341 | 0 | 100 | 1 | 2
111.8664 | 12.5 | -0.029516 | 101.0399 | 0 | 100 | 1 | 2
111.2447 | 13 | -0.025783 | 101.0951 | 0 | 100 | 1 | 2
110.6345 | 13.5 | -0.023335 | 101.0525 | 0 | 100 | 1 | 2
110.0404 | 14 | -0.018922 | 101.0116 | 0 | 100 | 1 | 2
109.4703 | 14.5 | -0.014236 | 100.98 | 0 | 100 | 1 | 2
108.932 | 15 | -0.0087027 | 100.9726 | 0 | 100 | 1 | 2
108.4175 | 15.5 | -0.0044723 | 100.9168 | 0 | 100 | 1 | 2
107.9383 | 16 | 0.0018562 | 100.8641 | 0 | 100 | 1 | 2
107.5053 | 16.5 | 0.0074178 | 100.8464 | 0 | 100 | 1 | 2
107.1088 | 17 | 0.013194 | 100.8973 | 0 | 100 | 1 | 2
106.7433 | 17.5 | 0.019739 | 100.9059 | 0 | 100 | 1 | 2
106.4151 | 18 | 0.024377 | 100.9551 | 0 | 100 | 1 | 2
106.1182 | 18.5 | 0.030502 | 100.7932 | 0 | 100 | 1 | 2
105.8552 | 19 | 0.035967 | 100.8926 | 0 | 100 | 1 | 2
105.6287 | 19.5 | 0.040935 | 100.8465 | 0 | 100 | 1 | 2
105.4302 | 20 | 0.045826 | 100.9575 | 0 | 100 | 1 | 2
105.2666 | 20.5 | 0.05079 | 100.8075 | 0 | 100 | 1 | 2
105.128 | 21 | 0.053557 | 100.7708 | 0 | 100 | 1 | 2
105.0142 | 21.5 | 0.057918 | 100.9011 | 0 | 100 | 1 | 2
104.9174 | 22 | 0.058991 | 100.8698 | 0 | 100 | 1 | 2
104.8443 | 22.5 | 0.062065 | 100.8769 | 0 | 100 | 1 | 2
104.7878 | 23 | 0.064125 | 100.7668 | 0 | 100 | 1 | 2
104.7508 | 23.5 | 0.06629 | 100.6913 | 0 | 100 | 1 | 2
104.7176 | 24 | 0.069783 | 100.8861 | 0 | 100 | 1 | 2
104.696 | 24.5 | 0.07075 | 100.7766 | 0 | 100 | 1 | 2
104.6871 | 25 | 0.071826 | 100.8804 | 0 | 100 | 1 | 2
104.684 | 25.5 | 0.072991 | 100.8464 | 0 | 100 | 1 | 2
104.6927 | 26 | 0.073875 | 100.8763 | 0 | 100 | 1 | 2
104.7024 | 26.5 | 0.074929 | 100.8293 | 0 | 100 | 1 | 2
104.714 | 27 | 0.076419 | 100.9015 | 0 | 100 | 1 | 2
104.728 | 27.5 | 0.075012 | 100.8691 | 0 | 100 | 1 | 2
104.7428 | 28 | 0.075548 | 100.9047 | 0 | 100 | 1 | 2
104.7617 | 28.5 | 0.075968 | 100.8178 | 0 | 100 | 1 | 2
104.7834 | 29 | 0.076418 | 100.7333 | 0 | 100 | 1 | 2
104.8047 | 29.5 | 0.076258 | 100.93 | 0 | 100 | 1 | 2
104.8246 | 30 | 0.077454 | 100.7353 | 0 | 100 | 1 | 2
104.8449 | 30.5 | 0.07681 | 100.7495 | 0 | 100 | 1 | 2
104.8697 | 31 | 0.076454 | 100.8111 | 0 | 100 | 1 | 2
104.8952 | 31.5 | 0.079217 | 100.8327 | 0 | 100 | 1 | 3
105.0123 | 32 | 0.1163 | 100.8413 | 0 | 100 | 1 | 3
105.4202 | 32.5 | 0.19503 | 100.7849 | 0 | 100 | 1 | 3
106.2575 | 33 | 0.29884 | 100.8079 | 0 | 100 | 1 | 3
107.5601 | 33.5 | 0.40371 | 100.8345 | 0 | 100 | 1 | 3
109.2915 | 34 | 0.49774 | 100.8089 | 0 | 100 | 1 | 3
111.3801 | 34.5 | 0.57355 | 100.7716 | 0 | 100 | 1 | 3
113.7312 | 35 | 0.63092 | 100.7074 | 0 | 100 | 1 | 3
116.2647 | 35.5 | 0.67572 | 100.8535 | 0 | 100 | 1 | 3
118.9395 | 36 | 0.7124 | 100.8558 | 0 | 100 | 1 | 3
121.7231 | 36.5 | 0.74976 | 100.7946 | 0 | 100 | 1 | 3
124.5789 | 37 | 0.7833 | 100.8936 | 0 | 100 | 1 | 3
127.5201 | 37.5 | 0.82082 | 100.7098 | 0 | 100 | 1 | 3
130.5183 | 38 | 0.85643 | 100.8001 | 0 | 100 | 1 | 3
133.5644 | 38.5 | 0.88982 | 100.6778 | 0 | 100 | 1 | 3
136.6441 | 39 | 0.91708 | 100.7772 | 0 | 100 | 1 | 3
139.7357 | 39.5 | 0.94099 | 100.5948 | 0 | 100 | 1 | 3
142.8204 | 40 | 0.96235 | 100.7251 | 0 | 100 | 1 | 3
145.8828 | 40.5 | 0.98034 | 100.7366 | 0 | 100 | 1 | 3
148.9187 | 41 | 0.99435 | 100.7032 | 0 | 100 | 1 | 3
151.9176 | 41.5 | 1.0082 | 100.7941 | 0 | 100 | 1 | 3
154.8749 | 42 | 1.0227 | 100.5464 | 0 | 100 | 1 | 3
157.7874 | 42.5 | 1.0362 | 100.6417 | 0 | 100 | 1 | 3
160.6643 | 43 | 1.0529 | 100.6596 | 0 | 100 | 1 | 3
163.4985 | 43.5 | 1.0643 | 100.6861 | 0 | 100 | 1 | 3
166.2908 | 44 | 1.0784 | 100.588 | 0 | 100 | 1 | 3
169.0471 | 44.5 | 1.0921 | 100.5642 | 0 | 100 | 1 | 3
171.7582 | 45 | 1.1073 | 100.5855 | 0 | 100 | 1 | 3
174.4461 | 45.5 | 1.12 | 100.4652 | 0 | 100 | 1 | 3
177.1006 | 46 | 1.1355 | 100.4554 | 0 | 100 | 1 | 3
179.7295 | 46.5 | 1.1518 | 100.5149 | 0 | 100 | 1 | 3
182.333 | 47 | 1.1667 | 100.33 | 0 | 100 | 1 | 3
184.9151 | 47.5 | 1.1842 | 100.5366 | 0 | 100 | 1 | 3
187.4834 | 48 | 1.2029 | 100.4266 | 0 | 100 | 1 | 3
190.0365 | 48.5 | 1.2225 | 100.4353 | 6.6028e-296 | 100 | 1 | 3
192.5657 | 49 | 1.2404 | 100.4763 | 1.3333e-274 | 100 | 1 | 3
195.0922 | 49.5 | 1.2588 | 100.2627 | -5.1975e-253 | 100 | 1 | 3
197.6073 | 50 | 1.28 | 100.2751 | -1.0495e-231 | 100 | 1 | 3
200.1162 | 50.5 | 1.3027 | 100.21 | 4.0913e-210 | 100 | 1 | 3
202.6181 | 51 | 1.3258 | 100.2832 | 8.2616e-189 | 100 | 1 | 3
205.1184 | 51.5 | 1.3469 | 100.3863 | -3.2205e-167 | 100 | 1 | 3
207.6091 | 52 | 1.3683 | 100.1783 | -6.5032e-146 | 100 | 1 | 3
210.0963 | 52.5 | 1.3907 | 100.1788 | 2.5351e-124 | 100 | 1 | 3
212.5851 | 53 | 1.413 | 100.1126 | 5.1191e-103 | 100 | 1 | 3
215.0681 | 53.5 | 1.4365 | 100.133 | -1.9955e-81 | 100 | 1 | 3
217.5515 | 54 | 1.4602 | 100.1863 | -4.0296e-60 | 100 | 1 | 3
220.0408 | 54.5 | 1.4837 | 100.0782 | 1.5708e-38 | 100 | 1 | 3
222.5232 | 55 | 1.5069 | 99.699 | 3.172e-17 | 100 | 1 | 3
224.9932 | 55.5 | 1.5209 | 100.0758 | 19.4535 | 80.5465 | 1 | 4 | 239.5 | 3.9917 | 2.0317
227.1191 | 56 | 1.4542 | 99.7713 | 20 | 80 | 1 | 4
228.6985 | 56.5 | 1.7406 | 100.0838 | 20 | 80 | 1 | 4
229.6431 | 57 | 1.5063 | 100.0812 | 20 | 80 | 1 | 4
230.0961 | 57.5 | 1.2722 | 100.0647 | 20 | 80 | 1 | 4
230.2603 | 58 | 1.1427 | 100.145 | 20 | 80 | 1 | 4
230.2918 | 58.5 | 1.0786 | 100.1752 | 20 | 80 | 1 | 4
230.2649 | 59 | 1.0374 | 100.1371 | 20 | 80 | 1 | 4
230.1983 | 59.5 | 0.99092 | 100.1304 | 20 | 80 | 1 | 4
230.0688 | 60 | 0.93282 | 100.2434 | 20 | 80 | 1 | 4
229.8607 | 60.5 | 0.87379 | 99.9628 | 20 | 80 | 1 | 4
229.5806 | 61 | 0.8219 | 100.0491 | 20 | 80 | 1 | 4
229.2464 | 61.5 | 0.7846 | 100.1345 | 20 | 80 | 1 | 4
228.8825 | 62 | 0.75966 | 100.0005 | 20 | 80 | 1 | 4
228.5175 | 62.5 | 0.74608 | 100.1945 | 20 | 80 | 1 | 4
228.1722 | 63 | 0.73947 | 100.1046 | 20 | 80 | 1 | 4
227.8482 | 63.5 | 0.73068 | 99.9958 | 20 | 80 | 1 | 4
227.544 | 64 | 0.72451 | 99.9781 | 20 | 80 | 1 | 4
227.2612 | 64.5 | 0.71851 | 100.0099 | 20 | 80 | 1 | 4
226.999 | 65 | 0.71307 | 99.967 | 20 | 80 | 1 | 4
226.7558 | 65.5 | 0.7095 | 100.1536 | 20 | 80 | 1 | 4
226.5316 | 66 | 0.70449 | 100.0208 | 20 | 80 | 1 | 4
226.3271 | 66.5 | 0.70498 | 99.9882 | 20 | 80 | 1 | 4
226.1442 | 67 | 0.7014 | 100.1993 | 20 | 80 | 1 | 4
225.9816 | 67.5 | 0.70336 | 100.109 | 20 | 80 | 1 | 4
225.8436 | 68 | 0.70192 | 99.9994 | 20 | 80 | 1 | 4
225.7189 | 68.5 | 0.70016 | 99.8984 | 20 | 80 | 1 | 4
225.6054 | 69 | 0.70019 | 100.0784 | 20 | 80 | 1 | 4
225.5066 | 69.5 | 0.69958 | 100.0696 | 20 | 80 | 1 | 4
225.4275 | 70 | 0.69883 | 99.8372 | 20 | 80 | 1 | 4
225.3589 | 70.5 | 0.69892 | 99.9732 | 20 | 80 | 1 | 4
225.2981 | 71 | 0.69672 | 100.103 | 20 | 80 | 1 | 4
225.2459 | 71.5 | 0.69631 | 100.0886 | 20 | 80 | 1 | 4
225.2044 | 72 | 0.6943 | 100.1045 | 20 | 80 | 1 | 4
225.1655 | 72.5 | 0.69251 | 100.0876 | 20 | 80 | 1 | 4
225.1321 | 73 | 0.69165 | 99.9207 | 20 | 80 | 1 | 4
225.1058 | 73.5 | 0.69153 | 100.1623 | 20 | 80 | 1 | 4
225.0894 | 74 | 0.69005 | 99.9953 | 20 | 80 | 1 | 4
225.0741 | 74.5 | 0.68801 | 100.1094 | 20 | 80 | 1 | 4
225.0607 | 75 | 0.68611 | 99.9413 | 20 | 80 | 1 | 4
225.0481 | 75.5 | 0.68574 | 99.9543 | 20 | 80 | 1 | 4
225.0396 | 76 | 0.68399 | 100.022 | 20 | 80 | 1 | 4
225.0345 | 76.5 | 0.68156 | 99.903 | 20 | 80 | 1 | 4
225.0291 | 77 | 0.68103 | 100.0035 | 20 | 80 | 1 | 4
225.0282 | 77.5 | 0.67793 | 99.9367 | 20 | 80 | 1 | 4
225.0281 | 78 | 0.67942 | 100.0625 | 20 | 80 | 1 | 4
225.0245 | 78.5 | 0.67608 | 100.0015 | 20 | 80 | 1 | 4
225.0234 | 79 | 0.67517 | 99.8644 | 20 | 80 | 1 | 4
225.0203 | 79.5 | 0.67286 | 100.0187 | 20 | 80 | 1 | 4
225.016 | 80 | 0.67054 | 99.8767 | 20 | 80 | 1 | 4
225.0146 | 80.5 | 0.67005 | 99.7495 | 20 | 80 | 1 | 4
225.0132 | 81 | 0.66824 | 99.9108 | 20 | 80 | 1 | 4
225.0103 | 81.5 | 0.6648 | 99.9023 | 20 | 80 | 1 | 4
225.0069 | 82 | 0.66364 | 99.9209 | 20 | 80 | 1 | 4
225.0041 | 82.5 | 0.66269 | 99.9137 | 20 | 80 | 1 | 4
225.0038 | 83 | 0.66202 | 99.8661 | 20 | 80 | 1 | 4
225.0048 | 83.5 | 0.66167 | 99.9254 | 20 | 80 | 1 | 4
225.0081 | 84 | 0.66229 | 99.8499 | 20 | 80 | 1 | 4
225.0121 | 84.5 | 0.66071 | 99.8628 | 20 | 80 | 1 | 4
225.0159 | 85 | 0.65864 | 99.927 | 20 | 80 | 1 | 4
225.0188 | 85.5 | 0.65838 | 99.8624 | 20 | 80 | 1 | 4
225.0212 | 86 | 0.6554 | 99.9806 | 20 | 80 | 1 | 4
225.0217 | 86.5 | 0.65286 | 99.8841 | 20 | 80 | 1 | 4
225.0212 | 87 | 0.65161 | 99.8488 | 20 | 80 | 1 | 4
225.0192 | 87.5 | 0.6502 | 99.9637 | 20 | 80 | 1 | 4
225.0193 | 88 | 0.64996 | 99.9861 | 20 | 80 | 1 | 4
225.0212 | 88.5 | 0.6498 | 99.7797 | 20 | 80 | 1 | 4
225.0186 | 89 | 0.64756 | 99.9532 | 20 | 80 | 1 | 4
225.0195 | 89.5 | 0.64637 | 99.8802 | 20 | 80 | 1 | 4
225.0199 | 90 | 0.64548 | 99.8745 | 20 | 80 | 1 | 4
225.0219 | 90.5 | 0.64468 | 99.8156 | 20 | 80 | 1 | 4
225.022 | 91 | 0.64307 | 99.7558 | 20 | 80 | 1 | 4
225.0215 | 91.5 | 0.64169 | 99.9354 | 20 | 80 | 1 | 4
225.0213 | 92 | 0.6392 | 99.8607 | 20 | 80 | 1 | 4
225.019 | 92.5 | 0.64069 | 99.7995 | 20 | 80 | 1 | 4
225.0209 | 93 | 0.63778 | 99.8306 | 20 | 80 | 1 | 4
225.0205 | 93.5 | 0.63754 | 99.7522 | 20 | 80 | 1 | 4
225.0162 | 94 | 0.63491 | 99.7944 | 20 | 80 | 1 | 4
225.0162 | 94.5 | 0.63617 | 99.8514 | 20 | 80 | 1 | 4
225.0135 | 95 | 0.63412 | 99.7494 | 20 | 80 | 1 | 4
225.0115 | 95.5 | 0.63318 | 99.8559 | 20 | 80 | 1 | 4
225.0109 | 96 | 0.63356 | 99.7241 | 20 | 80 | 1 | 4
225.0119 | 96.5 | 0.63263 | 99.6641 | 20 | 80 | 1 | 4
225.0148 | 97 | 0.63181 | 99.6556 | 20 | 80 | 1 | 4
225.0186 | 97.5 | 0.63017 | 99.5426 | 20 | 80 | 1 | 4
225.0221 | 98 | 0.62952 | 99.8349 | 20 | 80 | 1 | 4
225.0235 | 98.5 | 0.62719 | 99.7266 | 20 | 80 | 1 | 4
225.0144 | 99 | 0.62633 | 99.7675 | 20 | 80 | 1 | 4
225.0116 | 99.5 | 0.62688 | 99.6457 | 20 | 80 | 1 | 4
225.0125 | 100 | 0.626 | 99.7828 | 20 | 80 | 1 | 4
225.0184 | 100.5 | 0.62625 | 99.7096 | 20 | 80 | 1 | 4
225.0221 | 101 | 0.6267 | 99.7982 | 20 | 80 | 1 | 4
225.0217 | 101.5 | 0.62538 | 99.7351 | 20 | 80 | 1 | 4
225.0209 | 102 | 0.62585 | 99.7643 | 20 | 80 | 1 | 4
225.0251 | 102.5 | 0.62389 | 99.7262 | 20 | 80 | 1 | 4
225.0253 | 103 | 0.62161 | 99.7344 | 20 | 80 | 1 | 4
225.0244 | 103.5 | 0.62265 | 99.7862 | 20 | 80 | 1 | 4
225.0231 | 104 | 0.61963 | 99.6188 | 20 | 80 | 1 | 4
225.023 | 104.5 | 0.61968 | 99.6949 | 20 | 80 | 1 | 4
225.025 | 105 | 0.61897 | 99.7417 | 20 | 80 | 1 | 4
225.0258 | 105.5 | 0.61854 | 99.7659 | 20 | 80 | 1 | 4
225.0255 | 106 | 0.61731 | 99.6301 | 20 | 80 | 1 | 4
225.0211 | 106.5 | 0.61671 | 99.6036 | 20 | 80 | 1 | 4
225.0159 | 107 | 0.61635 | 99.7053 | 20 | 80 | 1 | 4
225.015 | 107.5 | 0.61732 | 99.629 | 20 | 80 | 1 | 4
225.0159 | 108 | 0.6163 | 99.6762 | 20 | 80 | 1 | 4
225.0147 | 108.5 | 0.61683 | 99.6643 | 20 | 80 | 1 | 4
225.0119 | 109 | 0.6151 | 99.6556 | 20 | 80 | 1 | 4
225.0108 | 109.5 | 0.61652 | 99.7077 | 20 | 80 | 1 | 4
225.0148 | 110 | 0.61533 | 99.6023 | 20 | 80 | 1 | 4
225.0153 | 110.5 | 0.61445 | 99.7331 | 20 | 80 | 1 | 4
225.0143 | 111 | 0.61435 | 99.6648 | 20 | 80 | 1 | 4
225.0134 | 111.5 | 0.61289 | 99.6257 | 20 | 80 | 1 | 4
225.0128 | 112 | 0.6127 | 99.4849 | 20 | 80 | 1 | 4
225.0103 | 112.5 | 0.61101 | 99.6517 | 20 | 80 | 1 | 4
225.0091 | 113 | 0.61106 | 99.7625 | 20 | 80 | 1 | 4
225.0084 | 113.5 | 0.6104 | 99.6342 | 20 | 80 | 1 | 4
225.0085 | 114 | 0.61004 | 99.5718 | 20 | 80 | 1 | 4
225.009 | 114.5 | 0.60888 | 99.6156 | 20 | 80 | 1 | 4
225.0091 | 115 | 0.60704 | 99.5161 | 20 | 80 | 1 | 4
225.0086 | 115.5 | 0.60789 | 99.6585 | 20 | 80 | 1 | 4
225.0128 | 116 | 0.60746 | 99.5979 | 20 | 80 | 1 | 4
225.0145 | 116.5 | 0.60672 | 99.5874 | 20 | 80 | 1 | 4
225.0141 | 117 | 0.60604 | 99.5581 | 20 | 80 | 1 | 4
225.0174 | 117.5 | 0.60514 | 99.5265 | 20 | 80 | 1 | 4
225.018 | 118 | 0.60585 | 99.6171 | 20 | 80 | 1 | 4
225.0159 | 118.5 | 0.60525 | 99.3752 | 20 | 80 | 1 | 4
225.0134 | 119 | 0.60596 | 99.5443 | 20 | 80 | 1 | 4
225.0119 | 119.5 | 0.60475 | 99.6309 | 20 | 80 | 1 | 4
225.0084 | 120 | 0.60532 | 99.5723 | 20 | 80 | 1 | 4
225.0078 | 120.5 | 0.60566 | 99.6239 | 20 | 80 | 1 | 4
225.0106 | 121 | 0.60645 | 99.5627 | 20 | 80 | 1 | 4
225.0125 | 121.5 | 0.60552 | 99.6157 | 20 | 80 | 1 | 4
225.0145 | 122 | 0.60378 | 99.7219 | 20 | 80 | 1 | 4
225.0177 | 122.5 | 0.60359 | 99.5404 | 20 | 80 | 1 | 4
225.0156 | 123 | 0.60258 | 99.6158 | 20 | 80 | 1 | 4
225.0156 | 123.5 | 0.60181 | 99.435 | 20 | 80 | 1 | 4
225.0196 | 124 | 0.60141 | 99.4463 | 20 | 80 | 1 | 4
225.0208 | 124.5 | 0.60001 | 99.5151 | 20 | 80 | 1 | 4
225.0167 | 125 | 0.60113 | 99.4699 | 20 | 80 | 1 | 4
225.0161 | 125.5 | 0.60073 | 99.4475 | 20 | 80 | 1 | 4
225.0182 | 126 | 0.59965 | 99.5421 | 20 | 80 | 1 | 4
225.0185 | 126.5 | 0.60105 | 99.4769 | 20 | 80 | 1 | 4
225.0217 | 127 | 0.6005 | 99.4109 | 20 | 80 | 1 | 4
225.0195 | 127.5 | 0.59955 | 99.4699 | 20 | 80 | 1 | 4
225.0156 | 128 | 0.59888 | 99.4513 | 20 | 80 | 1 | 4
225.0191 | 128.5 | 0.59825 | 99.5149 | 20 | 80 | 1 | 4
225.0209 | 129 | 0.59829 | 99.5342 | 20 | 80 | 1 | 4
225.0204 | 129.5 | 0.59734 | 99.5198 | 20 | 80 | 1 | 4
225.0186 | 130 | 0.59792 | 99.3634 | 20 | 80 | 1 | 4
225.016 | 130.5 | 0.59793 | 99.5388 | 20 | 80 | 1 | 4
225.0137 | 131 | 0.59534 | 99.4606 | 20 | 80 | 1 | 4
225.0142 | 131.5 | 0.5952 | 99.522 | 20 | 80 | 1 | 4
225.0116 | 132 | 0.59607 | 99.4839 | 20 | 80 | 1 | 4
225.0094 | 132.5 | 0.59329 | 99.3854 | 20 | 80 | 1 | 4
225.0087 | 133 | 0.59484 | 99.4648 | 20 | 80 | 1 | 4
225.0066 | 133.5 | 0.59557 | 99.4187 | 20 | 80 | 1 | 4
225.0052 | 134 | 0.59458 | 99.371 | 20 | 80 | 1 | 4
225.0058 | 134.5 | 0.59583 | 99.3978 | 20 | 80 | 1 | 4
225.0074 | 135 | 0.59463 | 99.3566 | 20 | 80 | 1 | 4
225.0077 | 135.5 | 0.59288 | 99.4122 | 20 | 80 | 1 | 4
225.0086 | 136 | 0.59234 | 99.3686 | 20 | 80 | 1 | 4
225.0092 | 136.5 | 0.59407 | 99.3728 | 20 | 80 | 1 | 4
225.007 | 137 | 0.59327 | 99.3824 | 20 | 80 | 1 | 4
225.0074 | 137.5 | 0.59352 | 99.4836 | 20 | 80 | 1 | 4
225.0154 | 138 | 0.59334 | 99.4168 | 20 | 80 | 1 | 4
225.0199 | 138.5 | 0.59321 | 99.3836 | 20 | 80 | 1 | 4
225.0219 | 139 | 0.59089 | 99.4878 | 20 | 80 | 1 | 4
225.0242 | 139.5 | 0.59292 | 99.4389 | 20 | 80 | 1 | 4
225.0263 | 140 | 0.59105 | 99.331 | 20 | 80 | 1 | 4
225.0237 | 140.5 | 0.58987 | 99.3853 | 20 | 80 | 1 | 4
225.0205 | 141 | 0.58817 | 99.3596 | 20 | 80 | 1 | 4
225.0228 | 141.5 | 0.58811 | 99.3541 | 20 | 80 | 1 | 4
225.0242 | 142 | 0.58863 | 99.5027 | 20 | 80 | 1 | 4
225.0184 | 142.5 | 0.58957 | 99.402 | 20 | 80 | 1 | 4
225.0153 | 143 | 0.5915 | 99.4214 | 20 | 80 | 1 | 4
225.0179 | 143.5 | 0.59218 | 99.3246 | 20 | 80 | 1 | 4
225.0181 | 144 | 0.59205 | 99.4133 | 20 | 80 | 1 | 4
225.0214 | 144.5 | 0.58936 | 99.35 | 20 | 80 | 1 | 4
225.022 | 145 | 0.58802 | 99.3186 | 20 | 80 | 1 | 4
225.0201 | 145.5 | 0.58861 | 99.3054 | 20 | 80 | 1 | 4
225.0197 | 146 | 0.58853 | 99.2428 | 20 | 80 | 1 | 4
225.0188 | 146.5 | 0.58676 | 99.2021 | 20 | 80 | 1 | 4
225.0187 | 147 | 0.5877 | 99.3164 | 20 | 80 | 1 | 4
225.0149 | 147.5 | 0.58662 | 99.3143 | 20 | 80 | 1 | 4
225.0147 | 148 | 0.58685 | 99.3819 | 20 | 80 | 1 | 4
225.0147 | 148.5 | 0.58629 | 99.4193 | 20 | 80 | 1 | 4
225.0156 | 149 | 0.5866 | 99.3463 | 20 | 80 | 1 | 4
225.0182 | 149.5 | 0.58779 | 99.3107 | 20 | 80 | 1 | 4
225.0218 | 150 | 0.58617 | 99.3445 | 20 | 80 | 1 | 4
225.0247 | 150.5 | 0.58391 | 99.26 | 20 | 80 | 1 | 4
225.0222 | 151 | 0.58428 | 99.2932 | 20 | 80 | 1 | 4
225.0171 | 151.5 | 0.58149 | 99.2955 | 20 | 80 | 1 | 4
225.0181 | 152 | 0.58267 | 99.2714 | 20 | 80 | 1 | 4
225.0205 | 152.5 | 0.58358 | 99.247 | 20 | 80 | 1 | 4
225.0197 | 153 | 0.58154 | 99.2187 | 20 | 80 | 1 | 4
225.0178 | 153.5 | 0.58209 | 99.1567 | 20 | 80 | 1 | 4
225.0169 | 154 | 0.58154 | 99.202 | 20 | 80 | 1 | 4
225.017 | 154.5 | 0.58297 | 99.1865 | 20 | 80 | 1 | 4
225.0145 | 155 | 0.58145 | 99.1943 | 20 | 80 | 1 | 4
225.0137 | 155.5 | 0.58078 | 99.1459 | 20 | 80 | 1 | 4
225.0159 | 156 | 0.58192 | 99.3384 | 20 | 80 | 1 | 4
225.0163 | 156.5 | 0.57977 | 99.2141 | 20 | 80 | 1 | 4
225.0143 | 157 | 0.58017 | 99.1929 | 20 | 80 | 1 | 4
225.0158 | 157.5 | 0.58073 | 99.2797 | 20 | 80 | 1 | 4
225.018 | 158 | 0.57933 | 99.2861 | 20 | 80 | 1 | 4
225.0187 | 158.5 | 0.57884 | 99.2593 | 20 | 80 | 1 | 4
225.021 | 159 | 0.57757 | 99.2197 | 20 | 80 | 1 | 4
225.016 | 159.5 | 0.5791 | 99.3125 | 20 | 80 | 1 | 4
225.0151 | 160 | 0.57832 | 99.1714 | 20 | 80 | 1 | 4
225.0117 | 160.5 | 0.58002 | 99.1282 | 20 | 80 | 1 | 4
225.0106 | 161 | 0.5807 | 99.193 | 20 | 80 | 1 | 4
225.0116 | 161.5 | 0.58029 | 99.3204 | 20 | 80 | 1 | 4
225.0127 | 162 | 0.57901 | 99.1292 | 20 | 80 | 1 | 4
225.0129 | 162.5 | 0.57941 | 99.1527 | 20 | 80 | 1 | 4
225.0132 | 163 | 0.57777 | 99.0564 | 20 | 80 | 1 | 4
225.015 | 163.5 | 0.57843 | 99.0842 | 20 | 80 | 1 | 4
225.0164 | 164 | 0.57753 | 99.1961 | 20 | 80 | 1 | 4
225.0183 | 164.5 | 0.57874 | 99.1706 | 20 | 80 | 1 | 4
225.0208 | 165 | 0.5783 | 99.1374 | 20 | 80 | 1 | 4
225.0217 | 165.5 | 0.57889 | 99.1062 | 20 | 80 | 1 | 4
225.0214 | 166 | 0.57649 | 99.1611 | 20 | 80 | 1 | 4
225.0231 | 166.5 | 0.57543 | 99.1803 | 20 | 80 | 1 | 4
225.024 | 167 | 0.57527 | 99.1768 | 20 | 80 | 1 | 4
225.0224 | 167.5 | 0.57587 | 99.1201 | 20 | 80 | 1 | 4
225.0213 | 168 | 0.57589 | 99.1382 | 20 | 80 | 1 | 4
225.0222 | 168.5 | 0.57616 | 99.2087 | 20 | 80 | 1 | 4
225.0241 | 169 | 0.57554 | 99.1249 | 20 | 80 | 1 | 4
225.0243 | 169.5 | 0.57519 | 99.0941 | 20 | 80 | 1 | 4
225.0214 | 170 | 0.57471 | 99.1098 | 20 | 80 | 1 | 4
225.0215 | 170.5 | 0.57642 | 99.0528 | 20 | 80 | 1 | 4
225.0231 | 171 | 0.57559 | 99.1371 | 20 | 80 | 1 | 4
225.0244 | 171.5 | 0.57386 | 99.1311 | 20 | 80 | 1 | 4
225.0246 | 172 | 0.5733 | 99.0676 | 20 | 80 | 1 | 4
225.0258 | 172.5 | 0.57393 | 98.9339 | 20 | 80 | 1 | 4
225.0275 | 173 | 0.57403 | 99.0892 | 20 | 80 | 1 | 4
225.0273 | 173.5 | 0.57318 | 99.0664 | 20 | 80 | 1 | 4
225.0229 | 174 | 0.57192 | 98.9639 | 20 | 80 | 1 | 4
225.0192 | 174.5 | 0.57077 | 99.0752 | 20 | 80 | 1 | 4
225.0165 | 175 | 0.57247 | 99.1544 | 20 | 80 | 1 | 4
225.0157 | 175.5 | 0.57424 | 99.0597 | 20 | 80 | 1 | 4
225.0168 | 176 | 0.57298 | 99.1126 | 20 | 80 | 1 | 4
225.015 | 176.5 | 0.57208 | 99.0979 | 20 | 80 | 1 | 4
225.0105 | 177 | 0.57098 | 98.9747 | 20 | 80 | 1 | 4
225.0097 | 177.5 | 0.56944 | 98.9808 | 20 | 80 | 1 | 4
225.0094 | 178 | 0.5711 | 99.0411 | 20 | 80 | 1 | 4
225.0088 | 178.5 | 0.57114 | 98.9718 | 20 | 80 | 1 | 4
225.0079 | 179 | 0.57004 | 99.0375 | 20 | 80 | 1 | 4
225.0123 | 179.5 | 0.57191 | 99.0833 | 20 | 80 | 1 | 4
225.0143 | 180 | 0.57001 | 98.8781 | 20 | 80 | 1 | 4
225.0156 | 180.5 | 0.57194 | 98.9844 | 20 | 80 | 1 | 4
225.0186 | 181 | 0.57091 | 98.9929 | 20 | 80 | 1 | 4
225.0177 | 181.5 | 0.56911 | 99.0322 | 20 | 80 | 1 | 4
225.0188 | 182 | 0.56992 | 99.0517 | 20 | 80 | 1 | 4
225.0201 | 182.5 | 0.56865 | 99.0585 | 20 | 80 | 1 | 4
225.0207 | 183 | 0.57018 | 99.1243 | 20 | 80 | 1 | 4
225.024 | 183.5 | 0.56915 | 99.0267 | 20 | 80 | 1 | 4
225.0214 | 184 | 0.56999 | 99.025 | 20 | 80 | 1 | 4
225.0186 | 184.5 | 0.56977 | 99.0217 | 20 | 80 | 1 | 4
225.0207 | 185 | 0.5695 | 98.956 | 20 | 80 | 1 | 4
225.0214 | 185.5 | 0.56831 | 99.0079 | 20 | 80 | 1 | 4
225.0209 | 186 | 0.56689 | 98.9651 | 20 | 80 | 1 | 4
225.0234 | 186.5 | 0.56768 | 98.853 | 20 | 80 | 1 | 4
225.0214 | 187 | 0.5677 | 98.9844 | 20 | 80 | 1 | 4
225.0177 | 187.5 | 0.56826 | 98.9974 | 20 | 80 | 1 | 4
225.0204 | 188 | 0.5681 | 98.9585 | 20 | 80 | 1 | 4
225.0203 | 188.5 | 0.56724 | 98.9142 | 20 | 80 | 1 | 4
225.0196 | 189 | 0.56635 | 98.853 | 20 | 80 | 1 | 4
225.0146 | 189.5 | 0.56655 | 99.0079 | 20 | 80 | 1 | 4
225.0154 | 190 | 0.56684 | 98.9022 | 20 | 80 | 1 | 4
225.017 | 190.5 | 0.56556 | 98.9073 | 20 | 80 | 1 | 4
225.017 | 191 | 0.56636 | 98.9484 | 20 | 80 | 1 | 4
225.0171 | 191.5 | 0.5667 | 99.0168 | 20 | 80 | 1 | 4
225.0173 | 192 | 0.56578 | 98.9073 | 20 | 80 | 1 | 4
225.0188 | 192.5 | 0.56551 | 98.88 | 20 | 80 | 1 | 4
225.0194 | 193 | 0.56648 | 98.9485 | 20 | 80 | 1 | 4
225.0165 | 193.5 | 0.56662 | 98.8288 | 20 | 80 | 1 | 4
225.0159 | 194 | 0.567 | 98.8831 | 20 | 80 | 1 | 4
225.0162 | 194.5 | 0.56623 | 98.8745 | 20 | 80 | 1 | 4
225.0194 | 195 | 0.56581 | 98.8763 | 20 | 80 | 1 | 4
225.0199 | 195.5 | 0.5665 | 99.031 | 20 | 80 | 1 | 4
225.0188 | 196 | 0.56637 | 98.8234 | 20 | 80 | 1 | 4
225.0154 | 196.5 | 0.5649 | 98.8754 | 20 | 80 | 1 | 4
225.016 | 197 | 0.5645 | 99.0005 | 20 | 80 | 1 | 4
225.0166 | 197.5 | 0.56511 | 98.8784 | 20 | 80 | 1 | 4
225.0178 | 198 | 0.56444 | 98.7167 | 20 | 80 | 1 | 4
225.0158 | 198.5 | 0.5645 | 98.8552 | 20 | 80 | 1 | 4
225.0195 | 199 | 0.56498 | 98.7996 | 20 | 80 | 1 | 4
225.0194 | 199.5 | 0.56642 | 98.8614 | 20 | 80 | 1 | 4
225.0181 | 200 | 0.56507 | 98.8147 | 20 | 80 | 1 | 4
225.0188 | 200.5 | 0.56491 | 98.8825 | 20 | 80 | 1 | 4
225.0222 | 201 | 0.56419 | 98.8573 | 20 | 80 | 1 | 4
225.0203 | 201.5 | 0.56301 | 98.8007 | 20 | 80 | 1 | 4
225.0179 | 202 | 0.56354 | 98.9165 | 20 | 80 | 1 | 4
225.0139 | 202.5 | 0.56394 | 98.7631 | 20 | 80 | 1 | 4
225.0167 | 203 | 0.56461 | 98.8607 | 20 | 80 | 1 | 4
225.0215 | 203.5 | 0.56356 | 98.7256 | 20 | 80 | 1 | 4
225.0232 | 204 | 0.56372 | 98.9091 | 20 | 80 | 1 | 4
225.022 | 204.5 | 0.56225 | 98.6999 | 20 | 80 | 1 | 4
225.0155 | 205 | 0.56211 | 98.7763 | 20 | 80 | 1 | 4
225.0096 | 205.5 | 0.5612 | 98.7964 | 20 | 80 | 1 | 4
225.0137 | 206 | 0.56306 | 98.8757 | 20 | 80 | 1 | 4
225.0162 | 206.5 | 0.56421 | 98.8026 | 20 | 80 | 1 | 4
225.0129 | 207 | 0.56446 | 98.757 | 20 | 80 | 1 | 4
225.0159 | 207.5 | 0.56194 | 98.8474 | 20 | 80 | 1 | 4
225.0164 | 208 | 0.5625 | 98.6741 | 20 | 80 | 1 | 4
225.0155 | 208.5 | 0.56108 | 98.6511 | 20 | 80 | 1 | 4
225.0176 | 209 | 0.56062 | 98.7473 | 20 | 80 | 1 | 4
225.014 | 209.5 | 0.56057 | 98.7417 | 20 | 80 | 1 | 4
225.0125 | 210 | 0.56108 | 98.6917 | 20 | 80 | 1 | 4
225.0125 | 210.5 | 0.56212 | 98.7854 | 20 | 80 | 1 | 4
225.014 | 211 | 0.56105 | 98.7847 | 20 | 80 | 1 | 4
225.0138 | 211.5 | 0.56036 | 98.6455 | 20 | 80 | 1 | 4
225.0134 | 212 | 0.56049 | 98.7779 | 20 | 80 | 1 | 4
225.0141 | 212.5 | 0.55837 | 98.7541 | 20 | 80 | 1 | 4
225.0131 | 213 | 0.56028 | 98.7536 | 20 | 80 | 1 | 4
225.0129 | 213.5 | 0.5609 | 98.7719 | 20 | 80 | 1 | 4
225.0125 | 214 | 0.56069 | 98.8378 | 20 | 80 | 1 | 4
225.014 | 214.5 | 0.55967 | 98.6594 | 20 | 80 | 1 | 4
225.0194 | 215 | 0.56026 | 98.657 | 20 | 80 | 1 | 4
225.018 | 215.5 | 0.56015 | 98.6466 | 20 | 80 | 1 | 4
225.0145 | 216 | 0.55859 | 98.6746 | 20 | 80 | 1 | 4
225.0112 | 216.5 | 0.55872 | 98.6078 | 20 | 80 | 1 | 4
225.009 | 217 | 0.55915 | 98.5862 | 20 | 80 | 1 | 4
225.0098 | 217.5 | 0.5581 | 98.6974 | 20 | 80 | 1 | 4
225.0096 | 218 | 0.56008 | 98.7126 | 20 | 80 | 1 | 4
225.0099 | 218.5 | 0.55945 | 98.6839 | 20 | 80 | 1 | 4
225.013 | 219 | 0.55856 | 98.629 | 20 | 80 | 1 | 4
225.0147 | 219.5 | 0.55983 | 98.5958 | 20 | 80 | 1 | 4
225.0149 | 220 | 0.55919 | 98.6833 | 20 | 80 | 1 | 4
225.0171 | 220.5 | 0.55864 | 98.6218 | 20 | 80 | 1 | 4
225.0178 | 221 | 0.5575 | 98.6881 | 20 | 80 | 1 | 4
225.0169 | 221.5 | 0.55878 | 98.581 | 20 | 80 | 1 | 4
225.0177 | 222 | 0.55759 | 98.519 | 20 | 80 | 1 | 4
225.018 | 222.5 | 0.55779 | 98.6539 | 20 | 80 | 1 | 4
225.0152 | 223 | 0.55949 | 98.6437 | 20 | 80 | 1 | 4
225.0179 | 223.5 | 0.55817 | 98.6632 | 20 | 80 | 1 | 4
225.0182 | 224 | 0.55913 | 98.6409 | 20 | 80 | 1 | 4
225.0172 | 224.5 | 0.56017 | 98.6814 | 20 | 80 | 1 | 4
225.0146 | 225 | 0.55874 | 98.7026 | 20 | 80 | 1 | 4
225.0144 | 225.5 | 0.56026 | 98.6822 | 20 | 80 | 1 | 4
225.0165 | 226 | 0.5607 | 98.5894 | 20 | 80 | 1 | 4
225.0175 | 226.5 | 0.56056 | 98.5348 | 20 | 80 | 1 | 4
225.0187 | 227 | 0.55869 | 98.5663 | 20 | 80 | 1 | 4
225.0202 | 227.5 | 0.56017 | 98.5703 | 20 | 80 | 1 | 4
225.0196 | 228 | 0.56001 | 98.573 | 20 | 80 | 1 | 4
225.0196 | 228.5 | 0.56066 | 98.5694 | 20 | 80 | 1 | 4
225.019 | 229 | 0.56031 | 98.6112 | 20 | 80 | 1 | 4
225.0201 | 229.5 | 0.55884 | 98.5279 | 20 | 80 | 1 | 4
225.0188 | 230 | 0.5604 | 98.5966 | 20 | 80 | 1 | 4
225.0202 | 230.5 | 0.55857 | 98.461 | 20 | 80 | 1 | 4
225.0227 | 231 | 0.55928 | 98.53 | 20 | 80 | 1 | 4
225.0201 | 231.5 | 0.55728 | 98.5098 | 20 | 80 | 1 | 4
225.0208 | 232 | 0.55805 | 98.5219 | 20 | 80 | 1 | 4
225.0207 | 232.5 | 0.55814 | 98.5945 | 20 | 80 | 1 | 4
225.0197 | 233 | 0.55817 | 98.5353 | 20 | 80 | 1 | 4
225.0185 | 233.5 | 0.55692 | 98.5579 | 20 | 80 | 1 | 4
225.017 | 234 | 0.55819 | 98.6069 | 20 | 80 | 1 | 4
225.0171 | 234.5 | 0.55874 | 98.509 | 20 | 80 | 1 | 4
225.0178 | 235 | 0.55856 | 98.4552 | 20 | 80 | 1 | 4
225.0178 | 235.5 | 0.55845 | 98.5439 | 20 | 80 | 1 | 4
225.0209 | 236 | 0.55854 | 98.4878 | 20 | 80 | 1 | 4
225.0249 | 236.5 | 0.55867 | 98.6262 | 20 | 80 | 1 | 4
225.0245 | 237 | 0.5578 | 98.4863 | 20 | 80 | 1 | 4
225.0238 | 237.5 | 0.55702 | 98.5064 | 20 | 80 | 1 | 4
225.0217 | 238 | 0.55652 | 98.5131 | 20 | 80 | 1 | 4
225.0193 | 238.5 | 0.55764 | 98.4636 | 20 | 80 | 1 | 4
225.0192 | 239 | 0.55623 | 98.4028 | 20 | 80 | 1 | 4
225.0224 | 239.5 | 0.55618 | 98.5072 | 20 | 80 | 1 | 4
225.0218 | 240 | 0.55608 | 98.5454 | 20 | 80 | 1 | 4
225.0179 | 240.5 | 0.55685 | 98.4497 | 20 | 80 | 1 | 4
225.0156 | 241 | 0.55492 | 98.5119 | 20 | 80 | 1 | 4
225.0161 | 241.5 | 0.55591 | 98.4921 | 20 | 80 | 1 | 4
225.014 | 242 | 0.55622 | 98.5287 | 20 | 80 | 1 | 4
225.0144 | 242.5 | 0.55679 | 98.4975 | 20 | 80 | 1 | 4
225.0118 | 243 | 0.5567 | 98.4256 | 20 | 80 | 1 | 4
225.0093 | 243.5 | 0.55591 | 98.4307 | 20 | 80 | 1 | 4
225.0141 | 244 | 0.55687 | 98.4268 | 20 | 80 | 1 | 4
225.0149 | 244.5 | 0.55602 | 98.487 | 20 | 80 | 1 | 4
225.0152 | 245 | 0.55604 | 98.4043 | 20 | 80 | 1 | 4
225.0153 | 245.5 | 0.55577 | 98.4686 | 20 | 80 | 1 | 4
225.0156 | 246 | 0.55668 | 98.5027 | 20 | 80 | 1 | 4
225.0184 | 246.5 | 0.5562 | 98.3662 | 20 | 80 | 1 | 4
225.0176 | 247 | 0.55531 | 98.4073 | 20 | 80 | 1 | 4
225.0156 | 247.5 | 0.55316 | 98.3934 | 20 | 80 | 1 | 4
225.0165 | 248 | 0.55521 | 98.4686 | 20 | 80 | 1 | 4
225.0145 | 248.5 | 0.55509 | 98.5135 | 20 | 80 | 1 | 4
225.0163 | 249 | 0.55609 | 98.4743 | 20 | 80 | 1 | 4
225.017 | 249.5 | 0.55626 | 98.4783 | 20 | 80 | 1 | 4
225.0192 | 250 | 0.55572 | 98.2856 | 20 | 80 | 1 | 4
225.0183 | 250.5 | 0.5559 | 98.47 | 20 | 80 | 1 | 4
225.0164 | 251 | 0.55503 | 98.4374 | 20 | 80 | 1 | 4
225.0186 | 251.5 | 0.55722 | 98.5557 | 20 | 80 | 1 | 4
225.0184 | 252 | 0.55547 | 98.4378 | 20 | 80 | 1 | 4
225.016 | 252.5 | 0.55523 | 98.4735 | 20 | 80 | 1 | 4
225.0197 | 253 | 0.55473 | 98.3176 | 20 | 80 | 1 | 4
225.0211 | 253.5 | 0.55481 | 98.3767 | 20 | 80 | 1 | 4
225.0181 | 254 | 0.55331 | 98.4495 | 20 | 80 | 1 | 4
225.014 | 254.5 | 0.55534 | 98.3842 | 20 | 80 | 1 | 4
225.0147 | 255 | 0.55644 | 98.3961 | 20 | 80 | 1 | 4
225.0177 | 255.5 | 0.55331 | 98.4074 | 20 | 80 | 1 | 4
225.0207 | 256 | 0.55348 | 98.2856 | 20 | 80 | 1 | 4
225.0173 | 256.5 | 0.55248 | 98.3365 | 20 | 80 | 1 | 4
225.0163 | 257 | 0.5528 | 98.3423 | 20 | 80 | 1 | 4
225.0142 | 257.5 | 0.55242 | 98.2395 | 20 | 80 | 1 | 4
225.0129 | 258 | 0.55224 | 98.3982 | 20 | 80 | 1 | 4
225.0129 | 258.5 | 0.55298 | 98.3079 | 20 | 80 | 1 | 4
225.0133 | 259 | 0.55362 | 98.3288 | 20 | 80 | 1 | 4
225.0159 | 259.5 | 0.55259 | 98.4067 | 20 | 80 | 1 | 4
225.0177 | 260 | 0.55424 | 98.3147 | 20 | 80 | 1 | 4
225.0129 | 260.5 | 0.5526 | 98.2682 | 20 | 80 | 1 | 4
225.0148 | 261 | 0.55438 | 98.4034 | 20 | 80 | 1 | 4
225.0168 | 261.5 | 0.55427 | 98.3484 | 20 | 80 | 1 | 4
225.0164 | 262 | 0.55317 | 98.3598 | 20 | 80 | 1 | 4
225.0182 | 262.5 | 0.55239 | 98.2775 | 20 | 80 | 1 | 4
225.0192 | 263 | 0.55362 | 98.3016 | 20 | 80 | 1 | 4
225.0202 | 263.5 | 0.55294 | 98.398 | 20 | 80 | 1 | 4
225.0196 | 264 | 0.55156 | 98.317 | 20 | 80 | 1 | 4
225.017 | 264.5 | 0.55197 | 98.3182 | 20 | 80 | 1 | 4
225.0144 | 265 | 0.55182 | 98.2648 | 20 | 80 | 1 | 4
225.0145 | 265.5 | 0.55233 | 98.3578 | 20 | 80 | 1 | 4
225.0196 | 266 | 0.55147 | 98.3407 | 20 | 80 | 1 | 4
225.0213 | 266.5 | 0.55095 | 98.3432 | 20 | 80 | 1 | 4
225.0172 | 267 | 0.55057 | 98.4141 | 20 | 80 | 1 | 4
225.0207 | 267.5 | 0.55153 | 98.3501 | 20 | 80 | 1 | 4
225.0247 | 268 | 0.55226 | 98.3363 | 20 | 80 | 1 | 4
225.0224 | 268.5 | 0.55149 | 98.4392 | 20 | 80 | 1 | 4
225.0272 | 269 | 0.55103 | 98.1964 | 20 | 80 | 1 | 4
225.0304 | 269.5 | 0.55169 | 98.2203 | 20 | 80 | 1 | 4
225.0276 | 270 | 0.54925 | 98.2921 | 20 | 80 | 1 | 4
225.0263 | 270.5 | 0.54875 | 98.292 | 20 | 80 | 1 | 4
225.0228 | 271 | 0.55073 | 98.2467 | 20 | 80 | 1 | 4
225.0148 | 271.5 | 0.55038 | 98.2955 | 20 | 80 | 1 | 4
225.0132 | 272 | 0.54975 | 98.2937 | 20 | 80 | 1 | 4
225.0146 | 272.5 | 0.55065 | 98.334 | 20 | 80 | 1 | 4
225.0133 | 273 | 0.54937 | 98.3125 | 20 | 80 | 1 | 4
225.0099 | 273.5 | 0.55034 | 98.2153 | 20 | 80 | 1 | 4
225.0111 | 274 | 0.54879 | 98.1309 | 20 | 80 | 1 | 4
225.0137 | 274.5 | 0.54944 | 98.2361 | 20 | 80 | 1 | 4
225.0127 | 275 | 0.5481 | 98.177 | 20 | 80 | 1 | 4
225.0148 | 275.5 | 0.54987 | 98.2679 | 20 | 80 | 1 | 4
225.0192 | 276 | 0.55026 | 98.196 | 20 | 80 | 1 | 4
225.0228 | 276.5 | 0.54905 | 98.1471 | 20 | 80 | 1 | 4
225.0215 | 277 | 0.54912 | 98.3355 | 20 | 80 | 1 | 4
225.0239 | 277.5 | 0.54991 | 98.1908 | 20 | 80 | 1 | 4
225.0237 | 278 | 0.5486 | 98.2 | 20 | 80 | 1 | 4
225.0185 | 278.5 | 0.54916 | 98.2484 | 20 | 80 | 1 | 4
225.0144 | 279 | 0.54789 | 98.3126 | 20 | 80 | 1 | 4
225.0197 | 279.5 | 0.55022 | 98.2339 | 20 | 80 | 1 | 4
225.0211 | 280 | 0.54911 | 98.0933 | 20 | 80 | 1 | 4
225.0182 | 280.5 | 0.54841 | 98.2084 | 20 | 80 | 1 | 4
225.0154 | 281 | 0.5454 | 98.2888 | 20 | 80 | 1 | 4
225.0128 | 281.5 | 0.54559 | 98.1946 | 20 | 80 | 1 | 4
225.0102 | 282 | 0.5487 | 98.2069 | 20 | 80 | 1 | 4
225.007 | 282.5 | 0.54634 | 98.2622 | 20 | 80 | 1 | 4
225.01 | 283 | 0.5485 | 98.1705 | 20 | 80 | 1 | 4
225.0117 | 283.5 | 0.54797 | 98.2225 | 20 | 80 | 1 | 4
225.0165 | 284 | 0.54867 | 98.1139 | 20 | 80 | 1 | 4
225.0186 | 284.5 | 0.55063 | 98.0984 | 20 | 80 | 1 | 4
225.0119 | 285 | 0.54862 | 98.2525 | 20 | 80 | 1 | 4
225.0123 | 285.5 | 0.54802 | 98.1605 | 20 | 80 | 1 | 4
225.0137 | 286 | 0.54689 | 98.1242 | 20 | 80 | 1 | 4
225.0123 | 286.5 | 0.5471 | 98.1703 | 20 | 80 | 1 | 4
225.0122 | 287 | 0.54901 | 98.0327 | 20 | 80 | 1 | 4
225.0159 | 287.5 | 0.54942 | 98.1021 | 20 | 80 | 1 | 4
225.0175 | 288 | 0.54932 | 98.2234 | 20 | 80 | 1 | 4
225.0193 | 288.5 | 0.5472 | 98.0465 | 20 | 80 | 1 | 4
225.0168 | 289 | 0.54766 | 98.1176 | 20 | 80 | 1 | 4
225.0137 | 289.5 | 0.54712 | 98.2256 | 20 | 80 | 1 | 4
225.0152 | 290 | 0.54886 | 98.1496 | 20 | 80 | 1 | 4
225.0166 | 290.5 | 0.54765 | 98.0723 | 20 | 80 | 1 | 4
225.0147 | 291 | 0.54796 | 98.2879 | 20 | 80 | 1 | 4
225.0171 | 291.5 | 0.54809 | 98.1762 | 20 | 80 | 1 | 4
225.0189 | 292 | 0.54616 | 98.2211 | 20 | 80 | 1 | 4
225.0167 | 292.5 | 0.54798 | 98.1954 | 20 | 80 | 1 | 4
225.0178 | 293 | 0.54794 | 98.1246 | 20 | 80 | 1 | 4
225.0181 | 293.5 | 0.54818 | 98.1276 | 20 | 80 | 1 | 4
225.0178 | 294 | 0.54723 | 98.1144 | 20 | 80 | 1 | 4
225.0188 | 294.5 | 0.54772 | 98.0687 | 20 | 80 | 1 | 4
225.0182 | 295 | 0.54621 | 98.0441 | 20 | 80 | 1 | 4 | 325